## Overview
Purpose / Why
In order to start building monitoring plans & accepting your sample results in Klir we need to build out a reference database in the Klir admin section.
Item Required |  | What is this?
Manage Units & Methods | Unit of Measurements | Units of measurement, sampling & analysis methods that will be attached to your results
Analysis Methods
Sample Methods
Parameters & Groups | Parameter Upload | Load Parameters, Aliases (if applicable) and Groups that will be analysed in Klir. These values will be used when creating monitoring plans, viewing & sending results to Klir.
Parameter Alias Mapping
Parameter Groups
Limits | Create Limit Sets | Seed Klir with Regulatory & Operational limits that your results will be evaluated against
Create Limits
Sample Location Hierarchy | Water Systems | Water systems, facilities and monitoring locations where samples will be recorded. This will be the backbone of your sampling network in Klir.
Facilities
Monitoring Locations
Please watch this video overview before adding data!

## UoM
Name* | Display Name | Abbreviation* | Description | Category | Unit System | Is Active
Milligrams/Liter | mg/L | mg/L | mg/L= ppm (parts per million) |  | Not Applicable | Yes

## Analysis Methods
Name* | Method Code | Abbreviation | Description | Category | Display Name | Is Active
EPA METHOD 1002.0 | 1002 | 100.1 | Description can be entered here |  | 100.1 | Yes

## Sample Methods
Name
Grab
Comp
Composite

## Parameters
Name* | Abbreviation | Category | Description | Display Name | CAS Number | STORET Number | Result Type | Is Active | Default Unit | Default Method
Lead | Pb |  |  | Pb (Lead) |  |  | Numeric Additive | Yes | ug/L | EPA METHOD 1002.0

## Parameter Groups
Group Name | Description
Metals | Description can be added here

## Copy of Parameter Groups (hidden)
Group Klir Name | Description | Group Full Name | Group Description
UNKNOWN | UNDEFINED CHEM PARAM GROUP Parameter group reserved for series with unknown analysis methods -- THIS GROUP SHOULD HAVE EVERY PARAMETER THAT IS IN THE PARAMETERS LOOKUP TABLE! | UNDEFINED CHEM PARAM GROUP | Parameter group reserved for series with unknown analysis methods -- THIS GROUP SHOULD HAVE EVERY PARAMETER THAT IS IN THE PARAMETERS LOOKUP TABLE!
504 | LAB TEST SERIES 504.1 | LAB TEST SERIES 504.1
507 | LAB TEST SERIES 507 | LAB TEST SERIES 507
508 | LAB TEST SERIES 508 | LAB TEST SERIES 508
515 | LAB TEST SERIES 515 | LAB TEST SERIES 515
531 | LAB TEST SERIES 531.2 The current version of the method is 531.2 | LAB TEST SERIES 531.2 | The current version of the method is 531.2
552 | LAB TEST SERIES 552.2 | LAB TEST SERIES 552.2
FIELD | LAB TEST SERIES FIELD | LAB TEST SERIES FIELD
GENLVLI | LAB TEST SERIES GENLVLI | LAB TEST SERIES GENLVLI
GENLVLII | LAB TEST SERIES GENLVLII | LAB TEST SERIES GENLVLII
547 | LAB TEST SERIES 547 | LAB TEST SERIES 547
551 | LAB TEST SERIES 551.1 | LAB TEST SERIES 551.1
550 | LAB TEST SERIES 550.1 | LAB TEST SERIES 550.1
525.2 | LAB TEST SERIES 525.2 | LAB TEST SERIES 525.2
524 | LAB TEST SERIES 524 INCLUDES ANALYSES BY EPA METHOD 524.2 | LAB TEST SERIES 524 | INCLUDES ANALYSES BY EPA METHOD 524.2
Q15QG | LAB TEST SERIES Q15QG WF-21 Q-15 quarterly grab sample. 6/1/2021 TCOLIM & FCOLIM removed; TCOLIQ & ECOLIQ added. | LAB TEST SERIES Q15QG | WF-21 Q-15 quarterly grab sample. 6/1/2021 TCOLIM & FCOLIM removed; TCOLIQ & ECOLIQ added.
TITLE22 | LAB TEST SERIES TITLE22 | LAB TEST SERIES TITLE22
H515 | HISTORICAL TEST SERIES 515 | HISTORICAL TEST SERIES 515
HINORG | HISTORICAL TEST SERIES INORG | HISTORICAL TEST SERIES INORG
AG | LAB TEST SERIES AG Silver | LAB TEST SERIES AG | Silver
AL | LAB TEST SERIES AL Aluminum | LAB TEST SERIES AL | Aluminum
AS | LAB TEST SERIES AS Arsenic | LAB TEST SERIES AS | Arsenic
BA | LAB TEST SERIES BA Barium | LAB TEST SERIES BA | Barium
BE | LAB TEST SERIES BE Beryllium | LAB TEST SERIES BE | Beryllium
BR | LAB TEST SERIES BR Bromide | LAB TEST SERIES BR | Bromide
CL | LAB TEST SERIES CL Chlorine | LAB TEST SERIES CL | Chlorine
CN | LAB TEST SERIES CN Cyanide | LAB TEST SERIES CN | Cyanide
APCOLR | LAB TEST SERIES APCOLR | LAB TEST SERIES APCOLR
CR | LAB TEST SERIES CR Chromium | LAB TEST SERIES CR | Chromium
EC | LAB TEST SERIES EC Electrical Conductivity | LAB TEST SERIES EC | Electrical Conductivity
FE | LAB TEST SERIES FE Iron | LAB TEST SERIES FE | Iron
HG | LAB TEST SERIES HG Mercury | LAB TEST SERIES HG | Mercury
MG | LAB TEST SERIES MG Magnesium | LAB TEST SERIES MG | Magnesium
MN | LAB TEST SERIES MN Manganese | LAB TEST SERIES MN | Manganese
NA | LAB TEST SERIES NA Sodium | LAB TEST SERIES NA | Sodium
NI | LAB TEST SERIES NI Nickel | LAB TEST SERIES NI | Nickel
NO3-N | LAB TEST SERIES NO3-N Nitrate Nitrogen | LAB TEST SERIES NO3-N | Nitrate Nitrogen
ODOR | LAB TEST SERIES ODOR | LAB TEST SERIES ODOR
PB | LAB TEST SERIES PB | LAB TEST SERIES PB
PH | LAB TEST SERIES PH | LAB TEST SERIES PH
S2 | LAB TEST SERIES S2 Sulfide | LAB TEST SERIES S2 | Sulfide
SE | LAB TEST SERIES SE Selenium | LAB TEST SERIES SE | Selenium
SIO2 | LAB TEST SERIES SIO2 Silica | LAB TEST SERIES SIO2 | Silica
SUSSOL | LAB TEST SERIES SUSSOL Suspended Solids | LAB TEST SERIES SUSSOL | Suspended Solids
TDS | LAB TEST SERIES TDS Total Dissolved Solids | LAB TEST SERIES TDS | Total Dissolved Solids
TL | LAB TEST SERIES TL Thallium | LAB TEST SERIES TL | Thallium
TOC | LAB TEST SERIES TOC Total Organic Carbon | LAB TEST SERIES TOC | Total Organic Carbon
TURB | LAB TEST SERIES TURB Turbidity | LAB TEST SERIES TURB | Turbidity
ZN | LAB TEST SERIES ZN Zinc | LAB TEST SERIES ZN | Zinc
H625 | HISTORICAL TEST SERIES 625 | HISTORICAL TEST SERIES 625
HRADIO | HISTORICAL TEST SERIES RADIO | HISTORICAL TEST SERIES RADIO
TITLE22N | LAB TEST SERIES TITLE22N | LAB TEST SERIES TITLE22N
TRCELVI | LAB TEST SERIES TRCELVI | LAB TEST SERIES TRCELVI
BACTI-C | LAB TEST SERIES BACTI-C | LAB TEST SERIES BACTI-C
F&TCL2 | LAB TEST SERIES F&TCL2 | LAB TEST SERIES F&TCL2
GENLVLIN | LAB TEST SERIES GENLVLIN | LAB TEST SERIES GENLVLIN
548 | LAB TEST SERIES 548 | LAB TEST SERIES 548
549 | LAB TEST SERIES 549.2 | LAB TEST SERIES 549.2
LABUNK | UNDEFINED LAB TEST SERIES Laboratory test series reserved for ad-hoc samples -- THIS GROUP SHOULD HAVE EVERY PARAMETER THAT IS IN THE PARAMETERS LOOKUP TABLE! | UNDEFINED LAB TEST SERIES | Laboratory test series reserved for ad-hoc samples -- THIS GROUP SHOULD HAVE EVERY PARAMETER THAT IS IN THE PARAMETERS LOOKUP TABLE!
HBIO | HISTORICAL TEST SERIES BIO. | HISTORICAL TEST SERIES BIO.
OCR-II | LAB TEST SERIES OCR-II | LAB TEST SERIES OCR-II
HTOX | HISTORICAL TEST SERIES TOX | HISTORICAL TEST SERIES TOX
BACTI-D | LAB TEST SERIES BACTI-D | LAB TEST SERIES BACTI-D
UVAB | LAB TEST SERIES UVAB | LAB TEST SERIES UVAB
BACTI-E | LAB TEST SERIES BACTI-E | LAB TEST SERIES BACTI-E
AG-DIS | LAB TEST SERIES AG-DIS Silver (dissolved) | LAB TEST SERIES AG-DIS | Silver (dissolved)
F-DO | LAB TEST SERIES F-DO | LAB TEST SERIES F-DO
F-CL2 | LAB TEST SERIES F-CL2 | LAB TEST SERIES F-CL2
CLO4 | LAB TEST SERIES CLO4 | LAB TEST SERIES CLO4
I2 | LAB TEST SERIES I2 | LAB TEST SERIES I2
NDMA-LOW | LAB TEST SERIES NDMA-LOW | LAB TEST SERIES NDMA-LOW
IDBP | LAB TEST SERIES IDBP Inorganic disinfection by-products. | LAB TEST SERIES IDBP | Inorganic disinfection by-products.
COLOR | LAB TEST SERIES COLOR | LAB TEST SERIES COLOR
CrVI | LAB TEST SERIES CrVI 4/11/2018 Method Changed to 218.7 (from 218.6) | LAB TEST SERIES CrVI | 4/11/2018 Method Changed to 218.7 (from 218.6)
14DIOX | LAB TEST SERIES 14DIOX | LAB TEST SERIES 14DIOX
H8270C | HISTORICAL TEST SERIES 8270C | HISTORICAL TEST SERIES 8270C
HORG | HISTORICAL TEST SERIES ORGANIC | HISTORICAL TEST SERIES ORGANIC
F-EC | LAB TEST SERIES F-EC | LAB TEST SERIES F-EC
AL-DIS | LAB TEST SERIES AL-DIS | LAB TEST SERIES AL-DIS
532 | LAB TEST SERIES 532 | LAB TEST SERIES 532
CU | LAB TEST SERIES CU | LAB TEST SERIES CU
V | LAB TEST SERIES V | LAB TEST SERIES V
DOC | LAB TEST SERIES DOC | LAB TEST SERIES DOC
HMWHINOR | HISTORICAL TEST SERIES MWHINOR Montgomery Watson Harza Laboratory Report Inorganic Results | HISTORICAL TEST SERIES MWHINOR | Montgomery Watson Harza Laboratory Report Inorganic Results
H2O2 | LAB TEST SERIES H2O2 | LAB TEST SERIES H2O2
HORMONES | LAB TEST SERIES HORMONES | LAB TEST SERIES HORMONES
NDMA-FP | LAB TEST SERIES NDMA-FP | LAB TEST SERIES NDMA-FP
PHENOLS | LAB TEST SERIES PHENOLS | LAB TEST SERIES PHENOLS
CLO3 | LAB TEST SERIES CLO3 | LAB TEST SERIES CLO3
PHARMA | LAB TEST SERIES PHARMA | LAB TEST SERIES PHARMA
527 | LAB TEST SERIES 527 | LAB TEST SERIES 527
529 | LAB TEST SERIES 529 | LAB TEST SERIES 529
I | LAB TEST SERIES TOTAL IODINE | LAB TEST SERIES TOTAL IODINE
METALMOB | LAB TEST SERIES METALMOB Metal Mobilization Study; 10/29/2021: Per Lab request - Ag-DIS, Hg-DIS & Sb-DIS removed | LAB TEST SERIES METALMOB | Metal Mobilization Study; 10/29/2021: Per Lab request - Ag-DIS, Hg-DIS & Sb-DIS removed
HPTRO | HISTORICAL TEST SERIES HPTRO Diesel, oil, gasoline | HISTORICAL TEST SERIES HPTRO | Diesel, oil, gasoline
521 | LAB TEST SERIES 521 | LAB TEST SERIES 521
I-DIS | LAB TEST SERIES IODINE disolvd | LAB TEST SERIES IODINE disolvd
FPW-T2WG | LAB TEST SERIES FPW-T2WG | LAB TEST SERIES FPW-T2WG
FPW-WG | LAB TEST SERIES FPW-WG GWRS-FPW Weekly Grab; 4/20/2023 TOC Added; 4/26/2023 TOC Removed per Reversal Request | LAB TEST SERIES FPW-WG | GWRS-FPW Weekly Grab; 4/20/2023 TOC Added; 4/26/2023 TOC Removed per Reversal Request
FPW-M2WG | LAB TEST SERIES FPW-M2WG | LAB TEST SERIES FPW-M2WG
FPW-DG | LAB TEST SERIES FPW-DG | LAB TEST SERIES FPW-DG
FPW-MG | LAB TEST SERIES FPW-MG Monthly Grab; 4/20/2023 TOC Added; 4/26/2023 TOC Removed after reversal of request. | LAB TEST SERIES FPW-MG | Monthly Grab; 4/20/2023 TOC Added; 4/26/2023 TOC Removed after reversal of request.
FPW-QG | LAB TEST SERIES FPW-QG 06/01/2021 Removed TOTCLA and FRCL2A; 01/16/2023 Addded TIN. | LAB TEST SERIES FPW-QG | 06/01/2021 Removed TOTCLA and FRCL2A; 01/16/2023 Addded TIN.
556 | LAB TEST SERIES 556 | LAB TEST SERIES 556
535 | LAB TEST SERIES 535 | LAB TEST SERIES 535
MTBETBA | LAB TEST SERIES MTBE & TBA | LAB TEST SERIES MTBE & TBA
BrO3 | LAB TEST SERIES BrO3 Bromate | LAB TEST SERIES BrO3 | Bromate
CEC | LAB TEST SERIES CEC Contaminants of emerging concern | LAB TEST SERIES CEC | Contaminants of emerging concern
Q15QG-CN | LAB TEST SERIES Q15QG-CN WF-21 Q-15 quarterly grab sample, with CN removed. | LAB TEST SERIES Q15QG-CN | WF-21 Q-15 quarterly grab sample, with CN removed.
FPW-MWG | LAB TEST SERIES FPW-MWG 4/20/2023 TIN Added | LAB TEST SERIES FPW-MWG | 4/20/2023 TIN Added
FPW-TWG | LAB TEST SERIES FPW-TWG 4/20/2023 TIN Added | LAB TEST SERIES FPW-TWG | 4/20/2023 TIN Added
BRO3CLO3 | LAB TEST SERIES BRO3CLO3 | LAB TEST SERIES BRO3CLO3
524.3 | LAB TEST SERIES 524.3 | LAB TEST SERIES 524.3
537 | LAB TEST SERIES 537 | LAB TEST SERIES 537
539 | LAB TEST SERIES 539 | LAB TEST SERIES 539
522 | LAB TEST SERIES 522 14DIOX | LAB TEST SERIES 522 | 14DIOX
UCMR3 | LAB TEST SERIES UCMR3 UCMR3 Test Series | LAB TEST SERIES UCMR3 | UCMR3 Test Series
T22M8 | LAB TEST SERIES T22M8 | LAB TEST SERIES T22M8
FPWWKNDG | LAB TEST SERIES FPWWKNDG | LAB TEST SERIES FPWWKNDG
BACTI-H | LAB TEST SERIES BACTI-H Drinking/well water method: 10 X 10 mL | LAB TEST SERIES BACTI-H | Drinking/well water method: 10 X 10 mL
123TCP | LAB TEST SERIES 123TCP | LAB TEST SERIES 123TCP
BACTI-J | LAB TEST SERIES BACTI-J | LAB TEST SERIES BACTI-J
CEC-R | LAB TEST SERIES CEC-R | LAB TEST SERIES CEC-R
14DIOX-R | LAB TEST SERIES 14DIOX-R | LAB TEST SERIES 14DIOX-R
CRIII | LAB TEST SERIES CRIII | LAB TEST SERIES CRIII
METMOB-U | LAB TEST SERIES METMOB-U Metal Mobilization U | LAB TEST SERIES METMOB-U | Metal Mobilization U
525.3 | LAB TEST SERIES 525.3 | LAB TEST SERIES 525.3
530 | LAB TEST SERIES 530 | LAB TEST SERIES 530
541 | LAB TEST SERIES 541 | LAB TEST SERIES 541
525-R | LAB TEST SERIES 525-R | LAB TEST SERIES 525-R
AINDEX | LAB TEST SERIES AINDEX | LAB TEST SERIES AINDEX
WECK508 | External WECK 508 | External WECK 508
Gd | Gadolinium New test series for Gadolinium 12/28/16 | Gadolinium | New test series for Gadolinium 12/28/16
W515.3 | WECK EPA METHOD 515.3 | WECK EPA METHOD 515.3
8015D | EPA 8015D - HPTRO WECK LAB: Diesel, oil, gasoline | EPA 8015D - HPTRO | WECK LAB: Diesel, oil, gasoline
NH3-N | NH3-N Ammonia Nitrogen with Method 350.1, RDL = 0.1 | NH3-N | Ammonia Nitrogen with Method 350.1, RDL = 0.1
FPW-DC | LAB TEST SERIES FPW-DC Final Product Water Daily composite | LAB TEST SERIES FPW-DC | Final Product Water Daily composite
MTBETBA2 | MTBE&TBA(Friedman & Bruya) | MTBE&TBA(Friedman & Bruya)
METALS | LAB TEST SERIES METALS | LAB TEST SERIES METALS
GWRSGWAN | LAB TEST SERIES GWRS ANNUAL Rotating annually at Groundwater Sites. Previously called GWRSANN. Added CrIII on 1/12/2023. | LAB TEST SERIES GWRS ANNUAL | Rotating annually at Groundwater Sites. Previously called GWRSANN. Added CrIII on 1/12/2023.
GWRSGWQ | LAB TEST SERIES GWRSGW QUALITY GWRSGWQ: Quarterly Groundwater Sites. 6/1/2021 TKN removed. | LAB TEST SERIES GWRSGW QUALITY | GWRSGWQ: Quarterly Groundwater Sites. 6/1/2021 TKN removed.
UCMR4 | LAB TEST SERIES UCMR4 | LAB TEST SERIES UCMR4
UCMR4BRT | LAB TEST SERIES UCMR4BRT | LAB TEST SERIES UCMR4BRT
546 | LAB TEST SERIES 546 Total Microcystins | LAB TEST SERIES 546 | Total Microcystins
545 | LAB TEST SERIES 545 | LAB TEST SERIES 545
552.3 | LAB TEST SERIES 552.3 | LAB TEST SERIES 552.3
537F | LAB TEST SERIES 537F The original 537 series plus 9 more parameters | LAB TEST SERIES 537F | The original 537 series plus 9 more parameters
524.2-R | LAB TEST SERIES 524.2-R | LAB TEST SERIES 524.2-R
1613B | EPA METHOD 1613B Isomer-specific determination of the 2,3,7,8-substituted, tetrathrough octa-chlorinated, dibenzo-p-dioxins and dibenzofurans in aqueous, solid, and tissue matrices by isotope dilution, high resolution capillary column GC/high resolution MS | EPA METHOD 1613B | Isomer-specific determination of the 2,3,7,8-substituted, tetrathrough octa-chlorinated, dibenzo-p-dioxins and dibenzofurans in aqueous, solid, and tissue matrices by isotope dilution, high resolution capillary column GC/high resolution MS
525.3UC4 | EPA UCMR4 525.3 EUORFINS EATON ANALYTICAL UCMR4 525.3 | EPA UCMR4 525.3 | EUORFINS EATON ANALYTICAL UCMR4 525.3
8330A | EPA 8330A Additional analytes can be analyzed by the EPA 8330A method, which are not included | EPA 8330A | Additional analytes can be analyzed by the EPA 8330A method, which are not included
GLYCOL | Ethylene Glycol | Ethylene Glycol
537RV1.1 | LAB TEST SERIES EPA 537 REV1.1 | LAB TEST SERIES EPA 537 REV1.1
SO4 | SULFATE | SULFATE
W515.4 | WECK EPA METHOD 515.4 | WECK EPA METHOD 515.4
537.1 | LAB TEST SERIES EPA 537.1 | LAB TEST SERIES EPA 537.1
504.1 | EPA METHOD 504.1 | EPA METHOD 504.1
551.1 | EPA 551.1 | EPA 551.1
NO2-N | Nitrite Nitrogen | Nitrite Nitrogen
8015B | EPA 8015B | EPA 8015B
T22METAL | TITLE 22 METALS WITH METHODS 200.7 AND 200.8 Title 22 metals analyzed with methods 200.7 and 200.8 | TITLE 22 METALS WITH METHODS 200.7 AND 200.8 | Title 22 metals analyzed with methods 200.7 and 200.8
T22INORG | TITLE 22 INORGANICS Excludes ODOR & Methods 200.7 & 200.8 analytes | TITLE 22 INORGANICS | Excludes ODOR & Methods 200.7 & 200.8 analytes
625.1 | LAB TEST SERIES 625.1 Eurofins TestAmerica EPA 625.1 Test Series | LAB TEST SERIES 625.1 | Eurofins TestAmerica EPA 625.1 Test Series
624.1 | EPA TEST SERIES 624.1 | EPA TEST SERIES 624.1
533 | LAB TEST SERIES EPA 533 | LAB TEST SERIES EPA 533
537.1FRB | TEST SERIES EPA 537.1 FRB Test series for reporting Field Reagent Blank (FRB) results to DDW with parameter STORET codes different than the field sample codes | TEST SERIES EPA 537.1 FRB | Test series for reporting Field Reagent Blank (FRB) results to DDW with parameter STORET codes different than the field sample codes
537.1DUP | TEST SERIES EPA 537.1 DUPLICATE Test series for reporting duplicate results to DDW with parameter STORET codes different than the field sample codes | TEST SERIES EPA 537.1 DUPLICATE | Test series for reporting duplicate results to DDW with parameter STORET codes different than the field sample codes
BIOASCEC | BIOASSAY MONITORING CEC Bioanalytical Screening for Chemicals of Emerging Concern: estrogen receptor alpha (ERa) and aryl hydrocarbon receptor (AhR) agonists in water samples using recombinant mammalian cell lines containing ERalpha- or AhR-responsive reporter genes | BIOASSAY MONITORING CEC | Bioanalytical Screening for Chemicals of Emerging Concern: estrogen receptor alpha (ERa) and aryl hydrocarbon receptor (AhR) agonists in water samples using recombinant mammalian cell lines containing ERalpha- or AhR-responsive reporter genes
F-ORP | LAB TEST SERIES F-ORP | LAB TEST SERIES F-ORP
F-ORP-DO | LAB TEST SERIES F-ORP-DO | LAB TEST SERIES F-ORP-DO
FPW-MC | LAB TEST SERIES FPW-MC 4/19/2023: TOC Removed. | LAB TEST SERIES FPW-MC | 4/19/2023: TOC Removed.
8081A | 8081A ORGANOCL PESTICIDES | 8081A ORGANOCL PESTICIDES
533-R | LAB TEST SERIES 533 REDUCED | LAB TEST SERIES 533 REDUCED
537.1U5 | LAB TEST SERIES EPA 537.1U5 | LAB TEST SERIES EPA 537.1U5
PFASTRT | PFAS TREATMENT FACILITY INORG PFAS Treatment Facility Inorganic Analyses | PFAS TREATMENT FACILITY INORG | PFAS Treatment Facility Inorganic Analyses
UCMR5Li | LAB TEST SERIES UCMR5Li | LAB TEST SERIES UCMR5Li
508.1 | TEST SERIES 508.1 Based on Weck 508.1 | TEST SERIES 508.1 | Based on Weck 508.1
548.1 | LAB TEST SERIES 548.1 | LAB TEST SERIES 548.1
533FRB | TEST SERIES EPA 533 FRB PFAS Special parameter series to distinguish Field Reagent Blanks (FRBs) from collected samples | TEST SERIES EPA 533 FRB PFAS | Special parameter series to distinguish Field Reagent Blanks (FRBs) from collected samples
551.1-R | EPA 551.1 R EPA 551.1 Reduced List | EPA 551.1 R | EPA 551.1 Reduced List
GWRFEGWQ | LAB TEST SERIES GWRSFE QUARTERLY Quarterly inorganic test at groundwater monitoring wells for Final Expansion permit compliance. 2/23/2023 | LAB TEST SERIES GWRSFE QUARTERLY | Quarterly inorganic test at groundwater monitoring wells for Final Expansion permit compliance. 2/23/2023
GWRFEGWA | LAB TEST SERIES GWRSFE ANNUAL Rotating annual inorganic test at groundwater monitoring wells for Final Expansion permit compliance. 2/23/2023 | LAB TEST SERIES GWRSFE ANNUAL | Rotating annual inorganic test at groundwater monitoring wells for Final Expansion permit compliance. 2/23/2023
FPWFE-QG | LABTEST SERIES FPWFE QUARTERLY Quarterly inorganic test at GWRS-FPW for Final Expansion permit compliance 3/7/2023 | LABTEST SERIES FPWFE QUARTERLY | Quarterly inorganic test at GWRS-FPW for Final Expansion permit compliance 3/7/2023
537.1U5F | LAB TEST SERIES EPA 537.1U5FRB For UCMR5 537.1 Method FRBs | LAB TEST SERIES EPA 537.1U5FRB | For UCMR5 537.1 Method FRBs
537.1-R | LAB TEST SERIES EPA 537.1 REDUCED | LAB TEST SERIES EPA 537.1 REDUCED
537.1-RF | LAB TEST SERIES EPA 537.1 REDUCED FRB For UCMR5 537.1 Method FRBs For Reduced Series | LAB TEST SERIES EPA 537.1 REDUCED FRB | For UCMR5 537.1 Method FRBs For Reduced Series
FPW-FWG | LAB TEST SERIES FPW-FWG GWRS-FPW Friday Weekly Grab | LAB TEST SERIES FPW-FWG | GWRS-FPW Friday Weekly Grab
ASBESTOS | LAB TEST SERIES ASBESTOS | LAB TEST SERIES ASBESTOS
BOD | BIOCHEMICAL OXYGEN DEMAND | BIOCHEMICAL OXYGEN DEMAND

## Parameters by Group
Parameter Group | Parameter Name
Metals | Lead
Metals | Copper
Metals | Arsenic
Metals | Iron

## Limit Sets
Name* | Abbreviation | Type* (Regulatory or Operational) | LimitSetID | Status
"Klir Limits" | Klir | Regulatory |  | Active

## Limits
Name* | Parameter* | Unit* | Limit Set* | Legislation Criteria | Limit* | Bound Type* | Calculation | Round To Decimal | Start Date | End Date | Klir Limit Id | Is Locked
Copper | Copper | ug/L | "Taken from Limit Sets tab" |  | 1300
Lead | Lead | ug/L | "Taken from Limit Sets tab" |  | 15

## Water Systems
Name* | System Code* | System Type* | Owner Type* | Population Served

## Facilities
Water System* | Facility Name* | Facility Code* | Water Source Type* | Facilty Type
"Taken from Water Systems Tab"

## Locations
Facility* | Name* | Location Code* | Latitude | Longitude | Comments
"Taken from Facilities" tab | Raw | Location ID